## Start Here
EU MDR Checklist
Save time and avoid the hustle!
| Get a complete overview of the key changes, timelines, and important steps | Get ready for the MDR audit (or any audit), with a
| to prepare to become fully compliant with EU MDR. With this checklist, | well-implemented, digital and compliant QMS.
you can undergo a self-assessment to check your EU MDR readiness.
Click here to know more
The final date for all MDD-certified devices to be certified under the new MDR is May 25, 2024.
Once a medical device is EU MDR compliant (even prior to this date), it can be certified under the MDR.
If the EU MDD certificate expires before 25 May 2024, then such a medical device needs to be recertified
according to the EU MDR. Hence, the last date to obtain EU MDR certification is May 25, 2024.
How to use the checklist
1 | Check the Sheet named "EU MDR Checklist - Scilife" of this document.
2 | Go through the 13 different requirements and its corresponding EU MDR Sections.
3 | Check the first cell if your Medical Device meets the requirements.
4 | You are all set!
Don't miss any important detail by checking the entire blog post here

## EU MDR Checklist - Scilife
www.scilife.io
| Requirements / Details | EU MDR Text Required Documentation Explanation | Related EU MDR Section | Comments & Additional Sources
1 | Risk Management System | Implement a risk management system to conduct the risk management process throughout the life cycle of the device, including design and process risk assessment, updated (as appropriate) with data from PMS (post-market surveillance). The assessment should show that benefits outweigh residual risks when the device is used as intended. Required documents: 1. Risk management procedure(s), including the definition of any rating systems 2. RMP (risk management plan) 3. RMF (risk management file) 4. RMR (risk management report) 5. Risk analysis (e.g., hazard analysis, FMEA), including appropriate controls (i.e., protective measures) for all identified risks | Annex I, Chapter I | ISO 14971
2 | PMS (Post-Market Surveillance) & Vigilance | Set up, implement, and maintain a PMS. Required documents: 1. PMS plan 2. PMS report 3. PMCF (post-market clinical follow-up plan/report) 4. PSUR (periodic safety update report; for each device greater than Class I) For Class III and IIb devices, the PSUR should be updated at least annually. For Class IIa devices, the PSUR should be updated when necessary but at least every two years. Vigilance: 1. SIs (serious incidents), FSCAs (field safety corrective actions) 2. Trend report 3. Analysis of SIs and FSCAs 4. Market surveillance | Chapter VII Article 83 Chapter VII, Section I Article 84 and Annex III Article 85 Annex XIV, Part B Article 86 Chapter VII, Section II and Article 93 Article 87 Article 88 Article 89 Section III, Article 93 | MedDev 2.12-2 MedDev 2.12-1,
3 | Economic Operators | SOP on communicating with commission/member states to obtain SRN: 1. Registration of economic operators, including SRN 2. EU authorized representative 3. Importers 4. Distributors | Chapter II, Articles 8, 11, 25, 27, 30, 33 Annex VI, Part A Chapter II, Article 31
4 | Clinical Evaluation and Clinical Investigations | Clinical evaluation and clinical investigations. Clinical evaluations are required for all medical devices. Required documentation: - Clinical evaluation: 1. CEP & CER (clinical evaluation plan & report) 2. PMCF (post-market clinical follow-up plan & report) 3. Literature search and literature review protocol 4. Summary of safety and clinical performance with annual updates - Clinical investigation: 1. Application form 2. Investigator brochure 3. CIP (clinical investigation plan & report) 4. Informed consent | Chapter VI Article 61 Annex XIV and Chapter VI, Article 62 Annex XIV, Part A Annex XIV, Part B Chapter III, Article 32 Annex XV | MEDDEV 2.7.1
5 | EU DoC (Declaration of Conformity) | Include all information listed in paragraphs 1 to 10 of the Annex IV of EU MDR. | Annex IV Article 10, Paragraph 8
6 | CE (EU Compliance Mark) | Where compliance with applicable requirements has been demonstrated following the applicable conformity assessment procedure, manufacturers of devices other than custom-made or investigational devices shall clearly affix the CE mark to the device of conformity in accordance with Article 20. | Annex V Chapter II, Article 10, paragraph 6 Chapter II, Article 20, paragraphs 1-6
7 | Classification Rules | The classification route and its rationale must address each requirement of the decided classification rule. Definitions specific to classification rules: 1. Duration of use 2. Invasive and active devices Implementing rules: 1. Implementing rules Classification Rules: 1. Non-Invasive devices 2. Invasive devices 3. Active devices 4. Special rules | Annex VIII Annex VIII, Chapter I Annex VIII, Chapter II Annex VIII, Chapter III
8 | Routes of Conformity | Manufacturers of Class I devices, other than custom-made or investigational devices, shall declare the conformity of their products by issuing the EU declaration of conformity referred to in Article 19 after drawing up the technical documentation set out in Annexes II and III. If those devices are placed on the market in sterile condition, have a measuring function or are reusable surgical instruments, the manufacturer shall apply the procedures set out in Chapters I and III of Annex IX, or in Part A of Annex XI. | Annex XI, Section 2, Article 52
9 | Quality Management System | The quality management system shall address at least the following aspects that are stated Article 10, Paragraph 9 items from a to m. (a) a strategy for regulatory compliance, including compliance with conformity assessment procedures and procedures for management of modifications to the devices covered by the system (b) identification of applicable general safety and performance requirements and exploration of options to address those requirements (c) responsibility of the management (d) resource management, including selection and control of suppliers and sub-contractors (e) risk management as set out in in Section 3 of Annex I (f) clinical evaluation in accordance with Article 61 and Annex XIV, including PMCF (g) product realisation, including planning, design, development, production, and service provision (h) verification of the UDI assignments made in accordance with Article 27(3) to all relevant devices and ensuring consistency and validity of information provided in accordance with Article 29 (i) setting-up, implementation and maintenance of a post-market surveillance system, in accordance with Article 83 (j) handling communication with competent authorities, notified bodies, other economic operators, customers and/or other stakeholders (k) processes for reporting of serious incidents and field safety corrective actions in the context of vigilance (l) management of corrective and preventive actions and verification of their effectiveness (m) processes for monitoring and measurement of output, data analysis and product improvement. | Annex IX Chapter I Annex XI Part A Clause 6 Article 10, Paragraph 9
10 | GSPRs (General Safety and Performance Requirements) | General Requirements The technical file should include GSPRs evaluation of Annex I to ensure and show the conformity. A checklist that includes all requirements can be used for this requirement. Required documents 1. Safety & performance statement | Annex I, and Annex II
|  | Requirements Regarding Design and Manufacture - Chemical, physical, and biological properties - Infection and microbial contamination - Devices incorporating a substance considered to be a medicinal product and devices that are composed of substances or of combinations of substances that are absorbed by or locally dispersed in the human body. - Devices incorporating materials of biological origin - Construction of devices and interaction with their environment - Devices with a diagnostic or measuring function - Protection against radiation General - Electronic programmable systems — devices that incorporate electronic programmable systems and software that are devices in themselves - Active devices and devices connected to them - Requirements for active implantable devices - Protection against mechanical and thermal risks - Protection against the risks posed to the patient or user by devices supplying energy or substances - Protection against the risks posed by medical devices intended by the manufacturer for use by laypersons | Annex I, Chapter II Clause 10 to 22
|  | The Information Supplied with The Device - Information on the label - Information on the packaging which also maintain the sterile condition of a device (if available) - Information in the instructions for use - If an electronic IFU will be provided, organization should ensure the compliance with all relevant aspects of Regulation 207/2012. Required documents - Each type of labelling (primary, secondary, tertiary packaging) including all required symbols. - Sterile information on the packaging - IFU (Instructions for use) Documents may also include following - surgical manuals, brochures, etc. | Annex I, Chapter III Clause 23 Annex II, Clause 1 | ISO 15223-1:2021 Medical devices — Symbols to be used with information to be supplied by the manufacturer — Part 1: General requirements Regulation (EU) 207/2012 - electronic instructions for use of medical devices
11 | UDI | Verification of the UDI (Unique Device Identification) assignments made in accordance with Articles that listed on the right to ensure consistency and validity of the information provided. UDI should be required on every label of the medical device to help tracking them throughout the supply chain. Required documents - UDI (Unique Device Identification) - List of all UDI-DI (Unique Device Identification-Device Identifier) | Article 10 (9 (h)) Article 27 Article 28 Article 29 Annex VI Annex XII Chapter I Article 27, Paragraph 7
12 | EUDAMED | The result is a European Data Bank on Medical Devices (EUDAMED), which will also be made public for certain devices. Companies will need to notify all products to the EUDAMED database, the obligations start from the date of application. This includes clinical investigations, UDI database, notified body and certificates, devices and modifications, economic operators, vigilance and PMS and market surveillance. | Chapter I Article 26, 33, 34
13 | Technical Documentation | Device Description and Specification, Including all variants, configurations, and accessories Required documents 1.Device description and specification (a) product or trade name and a general description (b) the Basic UDI-DI (c) the intended patient population and medical conditions to be diagnosed, treated and/or monitored and other considerations (d) principles of operation of the device and its mode of action (e) the rationale for the qualification of the product as a device (f) the risk class of the device and the justification for the classification rule(s) (g) an explanation of any novel features (h) a description of the accessories for a device (i) a description or complete list of the various configurations/variants (j) a general description of the key functional elements (k) a description of the raw materials incorporated into key functional elements and those making either direct contact with the human body or indirect contact with the body, (l) technical specifications, 2.Reference to previous and similar generations of the device (a) an overview of the previous generation or generations of the device (b) an overview of identified similar devices available on the Union or international markets | Annex II, Clause 1
|  | Information To Be Supplied by The Manufacturer A complete set of: — the label or labels on the device and on its packaging, such as single unit packaging, sales packaging, transport packaging in case of specific management conditions, in the languages accepted in the Member States where the device is envisaged to be sold; and Required documents - Labels IFU | Annex II, Clause 2
|  | Design and Manufacturing Information Complete information and specifications, including the manufacturing processes and their validation, their adjuvants, the continuous monitoring, and the final product testing. Data shall be fully included in the technical documentation Required documents - Design information Manufacturing process and validations - Site identification | Annex II, Clause 3
|  | Product Verification and Validation 1. Pre-clinical and clinical data 2. Additional information required in specific cases Required documents - Verification and validation of pre-clinical and clinical testing | Annex II, Clause 6